

Texas State Technical College Waco

Tax Exempt # 74-1646989

Procurement Office

3801 Campus Dr.

Waco, TX 76705

(254) 867-3778 phone

 (254) 867-3792 alternate fax

 (254) 867-3758 direct fax

**INVITATION FOR COMPETITIVE SEALED PROPOSALS**

**Title: Golf Course Wet Well, Pond, and T box**

**Proposal # RFP1231W REBID**

**Posted Date: 05-16-2012**

**Forms must be completed and returned for consideration.**

**Proposal Closing Date/Time: May 31, 2012 at 3:00 PM Central Standard Time**

**Mail Proposals to: Hand Deliver Proposals to:**

Texas State Technical College Texas State Technical College

Procurement Office Procurement Office

3801 Campus Dr. Attn: Sharon Ferrill, CTP

Waco, TX 76705 103 10th St. (on campus address only)

Attn: Sharon Ferrill, CTP Waco, TX 76705

**Faxed Proposals will not be accepted.**

**Emailed Proposals will not be accepted.**

Proposals must be received in a sealed envelope by the date and time shown above for consideration. Please indicate the Proposal #, Proposal Title, and Proposal Closing Date and Time on the sealed envelope and either hand deliver or mail to the address above. Proposals will be date/time stamped upon arrival. The date/time stamp used will be the official clock for proposal opening time. Proposals will be opened after the date shown and evaluated based on a Best Value Criteria to be set by TSTC. Location for opening will be in the office of Sharon Ferrill located in the Procurement Office on the TSTC Waco Campus, 2nd Floor of Patterson Hall at 103 10th Street. This is an on campus address.

Proposals will be read aloud. If you intend on being present at opening we ask that you please not be late. The door will be locked at 3:00 PM and no one will be allowed in.

Late Proposals will not be accepted or considered for review.

Please sign your proposal. Failure to do so will automatically disqualify your submission.

After the evaluation process of the proposals, it is our intention to make an award in the form of either/or an executed contract between both TSTC and the vendor of award or by purchase order or by both documents. TSTC reserves the right to the method of evaluation and award and reserves the right to reject any or all proposals or waive irregularities it deems necessary.

Open records requests for Bid Tabs or Award Notices will be available after an award has been made, and may be requested by contacting Jerry Sorrells via email at:

**jerry.sorrells@system tstc.edu** **or by visiting the Electronic State Business Daily website at:** [**http://esbd.cpa.state.tx.us**](http://esbd.cpa.state.tx.us) **or the TSTC Procurement website at:** [**http://www.waco.tstc.edu/procurement**](http://www.waco.tstc.edu/procurement)

By signing the proposal, the proposer agrees to comply with all terms and conditions of the invitation for competitive sealed proposals and any purchase order or contract that is issued pursuant to the award made. TSTC reserves the right to award on an “All or None” basis or “Line Item” basis. TSTC also reserves the right to reject any proposal submitted. TSTC reserves the right to cancel the order at any time due to delay or non delivery as proposed. TSTC terms are Net 30 days.

General Statement

**Texas State Technical College Waco is requesting Competitive Sealed Proposals for material, labor and equipment to construct new wet well, wet well pond and new T Box on John Connally Golf Course at Texas State Technical College, located at 7900 Concord Waco, TX. Included in this proposal is Alternate #1 for bridge renovation at two bridges located on John Connally golf course.**

Project Manager Contact:

 Mike Ratliff (254) 867-3703

**SECTION ONE**

**GENERAL INFORMATION**

1.1 **Purpose of the Request for Proposals** -- The purpose of this Request for Proposals (RFP) is to engage a Proposer to provide the following Services to Texas State Technical College System (herein referred to as “TSTC”): to engage proposer to furnish material, labor, and equipment to construct wet well, wet well pond, and new T Box at the John Connally Golf Course located at 7900 Concord Waco, TX. Included in this is Alternate #1 for bridge renovation at two bridges located on John Connally golf course.

By means of this RFP, TSTC invites all qualified Proposers to submit Proposals in accordance with the requirements outlined in this RFP. TSTC anticipates that, based on its review and evaluation of the Proposals received pursuant to this RFP, it will select a Proposer and execute a contract whereby the Proposer renders Services to TSTC, in accordance with terms and conditions set forth in the contract.

1.2 **Information about Texas State Technical College System** -- TSTC is a state-supported, technical college system that services students throughout the state of Texas. The college system includes four colleges: TSTC Harlingen, TSTC Marshall, TSTC Waco, and TSTC West Texas, which has campuses in Abilene, Breckenridge, Brownwood, and Sweetwater.

1.3 **Historically Underutilized Business (HUB) Firms** -- TSTC endeavors to promote full and equal opportunity for businesses to supply TSTC with goods and/or Services that are necessary to support TSTC's educational mission. In this regard, TSTC commits to select Proposers in accordance with (i) needs, (ii) resources, (iii) HUB goals and guidelines established by the Texas Legislature and the Texas Building and Procurement Commission, and (iv) policies and procedures for contracting with Historically Underutilized Businesses.

1.4 **TSTC’s Right to Reject** -- This RFP does not commit TSTC to select a Proposer or to award a Contract to any Proposer. TSTC reserves the right to accept or reject, in whole or in part, any Proposal it receives pursuant to this RFP.

**SECTION 2**

**RFP REQUIREMENTS**

2.1 **Right to Modify, Rescind, or Revoke RFP** -- TSTC reserves the rights to modify, rescind, or revoke this RFP, in whole or in part, at any time prior to the date on which the authorized representative of TSTC executes a Contract with the Selected Proposer.

2.2 **Compliance with RFP Requirements** -- By submission of a Proposal, a Proposer agrees to be bound by the requirements set forth in this RFP. TSTC, at its sole discretion, may disqualify a Proposal from consideration, if TSTC determines a Proposal is non-responsive and/or non-compliant, in whole or in part, with the requirements set forth in this RFP.

2.3 **Binding Effect of Proposal** -- Unless otherwise agreed in writing, signed by an authorized agent of TSTC, each Proposer agrees to and shall be bound by the information and documentation provided with the Proposal, including prices quoted for Services.

2.4 **Signature, Certification of Proposer** -- The Proposal must be signed and dated by a representative of the Proposer who is authorized to bind the Proposer to the terms and conditions contained in this RFP and to compliance with the information submitted in the Proposal. Each Proposer submitting a Proposal certifies to both (a) the completeness, veracity, and accuracy of the information provided in the Proposal and (b) the authority of the individual whose signature appears on the Proposal to bind the Proposer to the terms and conditions set forth in this RFP. Proposals submitted without the required signature shall be disqualified.

2.5 **Requirements for Submission** -- The Proposal shall be entitled Proposal Submitted for RFP #1231W REBID and shall clearly state the Proposal Opening Date and Time and Title identified.

By Hard Copy Submission:

The Respondent must submit one (1) original signed Proposal and although not required we ask that you please submit one (1) digital submission in the form of a cd or flashdrive.

The Proposal and accompanying documentation are the property of TSTC and will not be returned. TSTC will no longer provide “delivery or hand stamp” receipt of bids/proposals or proof of delivery of bid/proposals which are delivered by hand or courier. No proof of delivery shall be necessary.

The Proposal should be sent to TSTC at the following addresses:

By U.S. Mail/Overnight/Express Mail

 Texas State Technical College

 Procurement Office

 Attn: Sharon Ferrill, CTP

 RFP# 1231W REBID

 3801 Campus Drive

 Waco, TX 76705

By Hand Delivery (on campus address only)

 Texas State Technical College

 Procurement Office

 RFP1231W REBID

 Attn: Sharon Ferrill, CTP

 Patterson Hall

 103 10th St TSTC Campus

 Waco, Tx 76705

2.6 **Deadline for Proposals** -- **Proposals must be received in the TSTC Procurement Office, at the address specified in Section 2.5 of this RFP, no later than Thursday May 31, 2012 at 3:00 PM.**

Any Proposal received after EXPIRATION OF the DEADLINE will be immediately disqualified FROM CONSIDERATION, and WILL BE returned unopened to the PROPOSER.

2.7 **Risk of Loss, Damage, Delay** -- Proposer acknowledges and agrees to release and hold harmless the TSTC System, its campus components, Board of Regents, officers, employees, agents, and personnel, from and against any and all claims, liability, damages, and costs, including court costs and attorneys' fees, arising out of or pursuant to delivery of the Proposal or failure to deliver the Proposal to the Purchasing Office at TSTC, as designated in Sections 2.5 and 2.6 of this RFP.

2.8 **Ownership of Proposals** -- All Proposals become the physical property of TSTC upon receipt.

2.9 **Use, Disclosure of Information** --Proposer acknowledges that TSTC is an agency of the State of Texas, and is therefore required to comply with the Texas Public Information Act. Tex. Government Code Ch. 552. If a Proposal includes proprietary data, trade secrets, or information the Proposer wishes to except from public disclosure, then the Proposer must specifically label such data, secrets, or information as follows: "**PRIVILEGED AND CONFIDENTIAL -- PROPRIETARY INFORMATION**.**"** To the extent permitted by law, information labeled by the Proposer as proprietary will be used by TSTC only for purposes related to or arising out of the (a) evaluation of Proposals, (b) selection of a Proposer pursuant to the RFP process, and (c) negotiation and execution of a Contract, if any, with the Proposer selected.

2.10 **Costs of Participation** -- TSTC specifically disclaim responsibility, and/or liability, for all costs, expenses, or claims related to or arising out of the Proposers participation in this RFP process, including but not limited to costs incurred as a result of preparing, copying, shipping, presenting, and/or clarifying the Proposal and the information relevant to the Proposal.

2.11 **Compliance with Applicable Laws, Regulations, Ordinances, Board of Regents Policies, University Policies and Procedures.** By submitting a Proposal, the Proposer agrees to and shall comply with all applicable local, state and federal laws and regulations, as well as with all applicable policies and procedures of the Texas State Technical College System. System policies and procedures may be accessed at the following Internet address: **http://www.tstc.edu**

**SECTION 3**

**RFP PROCEDURES**

3.1 **Rescission of Proposal** -- A Proposal can be withdrawn from consideration at any time prior to expiration of the Deadline for Proposals, as stated in Section 2.6 of this RFP, pursuant to a written request sent to the Procurement Office Attn: Sharon Ferrill via email: sharon.ferrill@tstc.edu

3.2 **Request for Electronic Copy** -- A Proposer may request an electronic copy of the RFP from Sharon Ferrill. Email requests will be responded to by email only.

Email requests to: sharon.ferrill@tstc.edu or obtain a copy of the entire bid package by visiting either <http://esbd.cpa.state.tx.us> or <http://www.waco.tstc.edu/procurement>

**3.3 Request for Clarification** -- TSTC reserves the right to request clarification of any information contained in a Proposal.

3.4 **Request for Clarification by Proposer** -- All questions and clarifications of the proposals must be submitted in writing by email request to the following contact by the date of May 28, 2012 at 3pm.

|  |
| --- |
| Sharon Ferrill, CTP |
| 3801 Campus Drive |
| Waco, TX 76705 |
| 254-867-3778 |
| Sharon.ferrill@tstc.edu |

**3.5 Pre-Proposal Conference**

None

**3.6 Evaluation of Proposals**

Evaluation criteria will be that of Best Value to TSTC as TSTC deems necessary. Some of the criteria may be that of but not limited to:

Respondent’s Pricing, Delivery of Proposal, Qualifications, References, Past Projects

**3.7 Proposal Opening**

Proposals will be opened after the deadline shown of May 31, 2012 at 3:00pm. The proposal opening process is open to the public. We ask that you please be on time as the door will be locked promptly at 3:00 PM. No one will be allowed to enter the room after 3:00 PM. All submitted proposals become the property of TSTC, after the RFP submittal deadline/opening date, and will not be returned.

All information, documentation, and other materials submitted in response to this solicitation are considered and/or non-proprietary and are subject to public disclosure under the Texas Public Information Act (Texas Government Code, Chapter 552.001, et seq.) after the solicitation is completed.

Bid Tabs or Award Notices, after award, may be obtained by contacting:

Jerry Sorrells by email at Jerry.Sorrells@systems.tstc.edu

**or by visiting:**

**Electronic State Business Daily or TSTC Procurement website**

[**http://esbd.cpa.state.tx.us**](http://esbd.cpa.state.tx.us)[**http://www.waco.tstc.edu/procurement**](http://www.waco.tstc.edu/procurement)

**3.8 Award of Contract**

TSTC intends to negotiate and award an agreement with the vendor submitting the proposal TSTC determines best meets TSTC’s requirements and is considered to be the best value overall.

**3.9 Liquidated Damages**

Owner and Contractor recognize that time is of the essence of this agreement and the Owner will suffer financial loss if the work is not completed per the completion schedule. Owner and Contractor therefore agree that liquidated damages for delay will be $200.00 per calendar day. **Contractor will have 30 calendar days to complete project by**

**date set in Notice to Proceed.**

**3.10 Contract & General Conditions**

Anything related to this RFP shall comply with these documents and “General Conditions of the Contractor for Construction: AIA Document, A201 – 2007.

 Supplemental General Conditions

 Exhibit A: Changes to be made to AIA Document A201-2007

 Exhibit B: Explanation of Insurance

 Exhibit C: Explanation of Indemnification

 Exhibit D: Bond Requirements

 Exhibit E: HUB Subcontracting Plan

 Exhibit F: Pictures of proposed site area

 Exhibit H: Pump Specifications

 Exhibit J: Wet well Drawing

 Exhibit K 1 and 2: Pictures of bridges

 Exhibit L: Concrete Footing drawings

**3.11 Safety**

Constructor must comply with all applicable safety regulations, including but not limited to, the TSTC Waco, College Operating Procedure (9.16) Contractor Safety. The “COP” may be downloaded or viewed at this electronic link: <http://iam.tstc.edu/users/cop/COP9.16-01-13-03.pdf>

**SECTION 4**

**PROPOSAL CONTENTS**

**4.0 Scope of Work**

**PREP**

1. Construct barricades for work area to protect pedestrian and vehicle traffic. This may be done using caution tape with structural supports. Post construction warning signs that show men and equipment at work.

.

**NOTE**

1. Electrical main service and trans socket (meter can) will be supplied by ONCOR.
2. TSTC shall furnish and install wet well pump.

**Construction**

1. Contractor shall excavate soil to prepare for construction of new wet well pond, new T Box, and installation of wet well. Location and dimensions of these shown in Exhibit F. Excavate pond to 16’ depth with a 1-3 slope.
2. Contractor is to excavate for installation of wet well. The base for the wet well is to be P gravel that is 12”x8’x8’ and leveled. Bottom ring of wet well is to be 60”Hanson’s monolithic manhole base with an 18” Core-N-Seal set at 18” above bottom of wet well. River sand shall be poured and compacted outside the wet well 3’ for the entire height of wet well. The remaining area is to be filled with soil that has been excavated for the wet well.
3. The 60” manhole rings must be manufactured in accordance with ASTM C 478-07.These rings to maintain elevation shown in Exhibit J. Contractor to construct 12’ x 20’ x 6” top concrete slab for wet well building using 3500 PSI concrete with #5 bar 16” O.C. Slab location shown on Exhibit F and centered on wet well.
4. After wet well is installed then contractor will trench out soil for 18” PVC inlet pipe..
5. Contractor to furnish and install 18” SDR 32.5 PVC inlet supply pipe as per drawing Exhibit J. Supply pipe to be supported between concrete support (pond end of supply pipe) and point of penetration of pipe into soil. These supports to be Redi-Mix (or equal) concrete bags stacked with anchorage to pipe and set at 5’ O.C. Supply pipe to be set in river sand or P gravel during it’s back fill.Supply end of inlet pipe to set on vertical concrete ring that is saddled out for inlet pipe to set on. Inlet pipe to be strapped to concrete ring with 3/8” galvanized rod that is anchored to ring. This ring shall keep top of pipe at 24” above bottom elevation of new wet well pond.
6. Wet well top slab shall be as per drawing listed in Exhibit J. The dimensions shall be 12’x20’x6” thick. The concrete shall be 3,500 PSI with #5 bar on 16’ O.C. Structure to have a mimimum 12”x 12” perimeter beam with 4- #5 reinforcement steel. Contractor to finish concrete off with smooth level finish. Contractor shall form for chase opening in top slab to fit pump furnished by TSTC. Specifications for this pump shall be listed in Exhibit H. Any anchorage for pump that is to be embedded in concrete shall be done by contractor.
7. Furnish and install 6”steel pipe in foundation of metal building and extending out a minimum of 5’for outlet supply. Connect this pipe to existing 6”steel outlet supply pipe. There must be a valve on this line. If contractor bypasses existing valve then contractor must supply new valve**.**
8. Contractor shall supply drawings for metal building to house wet well pump. This building will meet the needs for protecting the pump. These are and not limited to ventilation, insulation, removable roof area to pull pump, access door, electrical for lighting- electrical outlets, and supports for elec. boxes. The building’s floor plan shall remain approx. 12’x20’ and a minimum of 10’ elevation.
9. Contractor will cut and trim opening for outlet pipe of pump as shown in Exhibit H.
10. Contractor will excavate channel from new pond to existing lake at completion of new pond and wet well installation. Location and dimensions of channel as per Exhibit F and have the same bottom elevation as the new pond.
11. Trees that are to be removed for area of new pond shall be moved to determined location at golf course.

**Electrical**

1. ONCOR Energy will supply overhead main service to weather head. ONCOR will supply Trans socket .
2. The following shall be constructed immediately after construction of new metal building for wet well.
3. Contractor to furnish and install all conduit, including weather head for this project.
4. Contractor shall install Trans socket on new metal building. Contractor to furnish and install minimum 2” rigid weather head from Trans socket to an elevation not less than 18” above highest elevation of roof. This weather head will be offset from the metal bldg. by 24”. This is to allow enough room for the removal of the roof of the building. The weather head must be supported to the building so that it will not sway or move under any conditions. These supports shall be metal, furnished and installed by contractor.
5. Contractor to furnish and install new 3 phase 480V- 300 Amp Panel board. This board to have 1- 200 Amp breaker for pump control box and 1-50 Amp breaker to feed low voltage transformer.
6. Contractor to furnish and install a transformer (480V- 3 phase in and 120-240V- single phase out). This transformer will have a minimum of 40 Amps to feed the new 125 Amp service panel. From this transformer furnish and install a single phase 125 Amp service panel with 6 circuit minimum and 2- 20 Amp breakers. All wiring and conduit supplied and installed by contractor.
7. Contractor to install control panel for new wet well pumps. This control panel furnished by pump manufacturer and will be installed by contractor per manufacturer’s specifications. Once control box is installed the contractor shall furnish and install new feed to it from new 300AMP 3 phase service panel connecting control box to the 200 Amp breaker supplied and installed by contractor. Pump supplier will make all electrical connections from the pumps to the control box.
8. Contractor to furnish and install 6 / surface mounted Lithonia F 32TH light fixtures, with 741 bulbs that have protective sleeves in metal building and controlled by one switch. All conduit inside building shall be EMT with 4” metal junction boxes for lights. Contractor to furnish and install all wiring for lights, switches and duplex outlets. Lights are to be switched inside bldg. by door. Contractor to furnish and install 1- 4 gang box outlet with two duplex and all weather covers. Again all conduit inside building shall be EMT metal conduit.

**Alternate 1- Renovation of two bridges of John Connally Golf Course**

1. Remove concrete fillers from both sides of the two bridges shown in Exhibit K to allow for repair of bridges. Removal shall be a minimum of 36” from bridge. This is to allow ample room for bridge repair.
2. Excavate soil a minimum of 6” below undisturbed soil and 6” away from edge of bridges for new concrete. This concrete is for protection of future wash out of bridges.
3. Dowell in to bridge with #3 bar at 36” O.C. with a minimum depth of 6” into bridge for anchorage of new concrete to bridge.
4. Install forms for new concrete making sure you leave a minimum of 6” below grade so there is ample room to push concrete into washed out cavities. Contractor shall do this with a drier mixed concrete to keep it from running back out of cavities. Details for this structure are shown in Exhibit L.
5. Install a minimum of 2-#5 reinforcement bar in new concrete running the length of the forms.
6. After cavities are filled, then install additional forms to bring concrete to grade. Pour concrete and finish to match existing.
7. After 48 hours contractor are to place concrete filler blocks, previously removed, back against bridge.
8. There is a $600.00 allowance for concrete used in bridge renovation. The $600.00 allowance is to be included in the base price of the alternate. Contractor will furnish a copy of the invoice for the concrete used in this project. TSTC will pay market value plus 15% for the concrete used.

**General Notes:**

1. Contractor employees shall wear TSTC issued contractor badges during the duration of this project and all badges shall be signed back in to TSTC on completion of project.
2. All debris removal and cost of disposal shall be the responsibility of the contractor. All debris removal shall be off campus.
3. Contractor shall clean trash, debris, and sweep work area daily.
4. Contractor shall maintain a traffic barricade of caution tape installed approx. 42” above finished floor unless others are stated above.
5. No radios, MP3s, etc.
6. Proper work attire will be maintained by contractor’s employees and sub-contractors.
7. If at any time there is a discrepancy with these notes then TSTC project manager will make final decision.

**4.1 Plans and Specifications**

**Specifications: (see Scope of Work)**

* 1. **A Warranty**

Contractor shall issue a one year warranty to TSTC for all labor and material used during this project. This warranty will begin on date of completion of project. Any warranties for painted metal shall be transferred to TSTC.

**4.2 Schedule:**

**All work shall be completed as per Section 3.9.**

**Schedules to be set by Mr. Ratliff after award.**

**General Terms and Conditions**

* 1. **Contract Award**

A response to the solicitation is an offer to contract with Texas State Technical College based on the terms and conditions contained therein. RFP’s do not become contracts and are not binding until a written contract, signed by authorized College administrator and authorized personnel of the awarded vendor pursuit to this agreement.

* 1. **Contract Term**

The contract performance period shall be for the purpose of completion of this project, unless otherwise extended or terminated by TSTC in accordance with the terms and conditions of this contract. All contract renewals or extension may be subject to approval by authorized personnel of TSTC. Contract renewals or extensions may be made ONLY by written agreement between the College and the Proposer and are subject to approval by authorized personnel of TSTC.

* 1. **Submitted Responsive Documents**

The RFP and submitted responsive documents, or portions of each, and at the College’s sole discretion, may become incorporated by reference and a part of this written contract and will be binding on both the College and the Proposer after execution of the contract by both parties.

* 1. **Interpretation, Jurisdiction and Venue**

This contract will be governed and be interpreted by the laws of the State of Texas without regard to its choice of law provisions. Exclusive venue for any claim or dispute involving the resulting contract or the services provided there under, shall lie in a court of competent jurisdiction in McLennan County, Texas.

* 1. **Compliance with Laws**

The services provided and all representations in the RFP response must be such that they are or would be in conformity with all federal, state, county and local laws, regulations, rules, and orders. Upon request, the Proposer shall furnish to TSTC certificates of compliance with all such laws.

* 1. **Taxes**

TSTC is tax exempt as a governmental subdivision of the State of Texas under Section 501C (3) of the Internal Revenue Code.

* 1. **Termination for Convenience**

TSTC, may, at its option and discretion, terminate the resulting contract for convenience and, at its option and discretion, may reduce the statement of work or other requirements of the contract at any time, without any default on the part of TSTC or the contractor, by giving thirty (30) calendar days notice thereof to the selected contractor.

* 1. **Termination for Default**

In the event that the services to be performed under this contract must be completed by a certain date, the Proposer is required to provide immediate notice at such time it has knowledge that it will be unable to perform the services within the time required.

* 1. **Insurance Requirements**

The Proposer/Awarded Vendor agrees to comply with the insurance requirements contained herein, if any.

INSURANCE REQUIREMENTS

9.1 All coverage must be provided in compliance with the General Conditions and on an occurrence basis, rather than claims made, and be provided through companies who have a minimal “Best’s” rating of A with a financial size category of X. The company must also be authorized to do business in the State of Texas and be acceptable to the Owner.

 The Contractor shall not commence work under this Contract until he/she has obtained all the insurance required hereunder, with the Owner as a named insured, and certificates of such insurance have been filed with and approved by the Owner. Approval of the insurance by the Owner shall not relieve or decrease the liability of the Contractor.

9.2 Contractor’s Liability Insurance

The limits of liability for the insurance shall provide coverage for not less that the following amounts or greater where required by Laws and Regulations:

* 1. Worker’s Compensation:
		1. State: Texas Statutory including Federal

b.) Employers Liability: $250,000 per Accident $500,000Disease, Policy Limit $250,000 Disease, each Employee

c.) The Owner shall require the Contractor to certify in writing that the Contractor provides Workers’ Compensation insurance coverage for all employees of the Contractor employed on the public project. A Subcontractor on the Project must provide such a certificate to the General Contractor relating to the coverage of the employees of the Subcontractor. The General Contractor shall provide the certificate of a Subcontractor to the Owner if requested. A Contractor who has a contract that requires Workers’ Compensation insurance coverage may provide the coverage through a group plan or other method satisfactory to the Owner.

* 1. Comprehensive or Commercial General Liability (including Premises-Operations; Independent Contractor’s Protective; Contractual Insurance; Independent Contractors; Products and Completed Operations; Broad Form Property Damage):

a.) Bodily Injury: $1,000,000 Each Occurrence

 $1,500,000 Aggregate

b.) Property Damage: $1,000,000 Each Occurrence

 $1,500,000 Aggregate

1. Products and Completed Operations to be maintained for specified years after final payment: $1,000,000
2. Property Damage Liability shall provide X, C, and U coverage.
3. Broad Form Property Damage Coverage shall include Completed Operations.
	1. Personal Injury, with Employment Exclusion deleted: $1,000,000 Aggregate
	2. Business Auto Liability (including owned, non-owned and hired vehicles):
	3. If the General Liability coverage’s are provided by a Commercial Liability policy, the:
		1. General Aggregate shall be not less than $1,000,000.
		2. Fire Damage shall be not less than $50,000 on any one fire.
		3. Medical expense limit shall be not less than $5,000 on any one person.
	4. Umbrella Excess Liability:
		1. $1,000,000 over Primary Insurance
		2. $25,000 retention for self-insured hazards each occurrence
	5. Contractual Liability Insurance

The Contractual Liability required shall provide coverage for not less than the following amounts:

 Bodily Injury: $ 750,000 Each Occurrence

$1,000,000 Aggregate

 Property Damage: $ 750,000 Each Occurrence

$1,000,000 Aggregate

* 1. Owner’s Liability Insurance

 The Contractor shall obtain at his expense an Owner’s Protective Liability Insurance Policy naming the Owner, its employees as insured, with the following limits:

 Bodily Injury: $ 500,000 Each person

$1,000,000 Each Occurrence

 Property Damage $ 500,000 Each Occurrence

$1,000,000 Annual Aggregate

* 1. Property Insurance
	2. Contractor shall purchase and maintain until final payment property insurance upon the Work at the site to the full insurable value thereof (subject to such deductive amounts an may be required by Laws and Regulations). This insurance shall include the interests of OWNER, CONTRACTOR, Subcontractors, in the Work (all of whom shall be listed as insured of additional insured parties), shall insure against the perils of fire and extended coverage, shall include “all-risk” insurance for physical loss and damage including theft, vandalism and malicious mischief, collapse and water damage, and such other perils as may be provided in these Conditions, and shall include damages, losses and expenses arising out of our resulting from any insured loss or incurred in the repair or replacement of any insured property (including but not limited to fees and charges of Owners, attorneys and other professionals). If not covered under the “all-risk” insurance or otherwise provided in these Supplementary Conditions, **CONTRACTOR** shall purchase and maintain similar property insurance on portions of the Work stored on and off the site or in transit when such portions of the Work are to be included in an Application for Payment.
	3. The form of policy for this coverage shall be “Completed Value”.
	4. If by the terms of this insurance any mandatory deductibles are required, or if the Contractor should elect, with the concurrence of the Owner, to increase the mandatory deductible amounts or to purchase this insurance with voluntary deductible amounts, the Contractor shall be responsible for payment of the amount deductible in the event of a paid claim.
	5. Acceptance of Insurance

 If OWNER has any objection to the coverage afforded by or other provisions of the insurance required to be purchased and maintained by CONTRACTOR on the basis of its not complying with the Contract Documents, OWNER shall notify CONTRACTOR in writing thereof within ten days of the date of delivery of such certificates in OWNER CONTRACTOR shall provide such additional information in respect of insurance provided as may reasonably request. Failure by CONTRACTOR to give any such notice of objection within the time provided shall constitute acceptance of such insurance purchased by the other as complying with Contract Documents

* 1. **Assignment**

The Proposer may not assign, transfer, convey, or subcontract this contract, any services to be performed as outlined in the RDP, or any of its obligations under this contract, in whole or in part, without the prior written approval from the College, which the College may withhold in its sole discretion.

* 1. **Audit of Records**

TSTC reserves the right to audit the records and performance of the Proposer during the term of this contract at any time during the contract period.

* 1. **Notices**

All notices, amendments, modifications, or alterations hereunder by either party to the other shall be in writing, delivered personally, by certified or registered mail, return receipt requested, or by overnight courier, and shall be deemed to have been duly given when delivered personally or when deposited in the United States mail, postage prepaid addressed as follows:

|  |  |
| --- | --- |
| Texas State Technical College  | Contractor |
| Attn: Sharon Ferrill, CTPProcurement Services  |  |
| 3801 Campus Dr. |  |
| Waco, TX 76705 |  |
| (254) 867-3778 or (254) 867-4804 |  |

* 1. **Entire Agreement**

The contract and its accompanying exhibits contain the entire understanding of the parties regarding the services or materials provided and supersede all prior agreements, oral or written and all other communications between the parties relating to the subject matter. This agreement may not be amended or modified, except by mutual written agreement between the parties.

* 1. **Ethics Conduct**

Any direct, or indirect, actions taken to unduly influence competitive purposes, to circumvent equal consideration for competitive bidders, or to disregard ethical and legal trade practices will disqualify vendors and contractors from current and future consideration for participation in TSTC orders and contracts.

* 1. **Drug Policy**

TSTC is a drug-free workforce and workplace. The manufacture, sale, distribution, dispensation, or use of illegal drugs or alcohol by vendors or contractors, while on TSTC premises, is strictly prohibited.

* 1. **Dispute Resolution**

The dispute resolution process provided for in Chapter 2260 of the Government Code shall be used by TSTC and the Proposer to attempt to resolve any claim for breach of contract made by the Proposer.

**PROPOSAL FORM**

Request for Proposal: ***RFP # 1231W ReBid***

Title: ***Golf Course Wet Well, Pond, and T Box***

Company Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

***LUMP SUM PROPOSAL***

(*Written*) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**$\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

***Alternate 1: Cost of renovation of two bridges***

(*Written*) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**$\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

***ADDENDUMS ACKNOWLEGED (if applicable): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_***

**RESPECTFULLY SUBMITTED:**

|  |  |
| --- | --- |
| Authorized Signature: |       |
| Printed Name and Title: |       |
|  |  |
| Name of Contracting Firm:  |       |
| Address: |       |
| Telephone and Email Address & Fax: |       |
|  |  |
| Proposer's Corporate Charter No.: |       |
|  |  |
| If a Corporation, attest and affix a Corporate Seal: |       |
|  |  |
| by: |       |

**The undersigned, in accordance with you invitation for Proposal have examined the Project Documents, Specifications, all Addenda, and the site conditions of the proposed work; and being familiar with all of the conditions surrounding construction of the proposed project and having conducted all inquiries, tests, and investigations deemed necessary and proper, hereby proposes to furnish all labor, insurance, materials, machinery, tools, supplies, and equipment to perform all work required for the project.**

**The proposer acknowledges by his signature:**

* **Proposer has received, read, and understands the proposal documents, and his proposal is made in accordance therewith.**
* **Proposer is in agreement to:**
	+ **Hold-open his proposal for sixty (60) days from date of proposal opening**
	+ **Accept a purchase order as “Notice to Proceed”, if awarded on the basis of this proposal**
	+ **Comply with the schedule provided**
* **These proposals are submitted with a declaration that no employee of the Owner has a financial or beneficial interest in this transaction.**

**Texas Family Code Compliance Requirement:**

Firm Owner(s), Partners, Sole Proprietors, Share Holder(s)

of twenty-five percent (25%) interest:

|  |  |  |  |
| --- | --- | --- | --- |
| Name: |       | SSN: |       |
| Type Written |  |
|       | SSN: |       |
|  |  |
|       | SSN: |       |
|  |  |
|       | SSN: |       |

(Proposer may use bottom of page if necessary.)

**References:**

1. **Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Phone/Fax: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Contact Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Email:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Phone/Fax: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Contact Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Email:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

1. **Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Phone/Fax: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Contact Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Email: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**(only if applicable)**

**Exhibit A: Changes to be made to AIA Document A201-2007**

The following provisions need to be modified:

1. 15.3 – 15.4.(Page 39) Mediation and Arbitration
	* TSTC cannot agree to follow the dispute resolution process set out in AIA A201-2007.
	* As a state agency, TSTC must abide by section 2260.004 of the Texas Government Code and the following language should be used to resolve any disputed claim for a contract over $25,000.00:

*“(1) To the extent that Chapter 2260, Texas Government Code, as it may be amended from time to time ("Chapter 2260"), is applicable to this Agreement and is not preempted by other applicable law, the dispute resolution process provided for in Chapter 2260 shall be used, as further described herein, by Owner and Contractor to attempt to resolve any claim for breach of contract made by Contractor:*

* + - 1. *(A) Contractor’s claims for breach of this Agreement that the parties cannot resolve pursuant to other provisions of this Agreement or in the ordinary course of business shall be submitted to the negotiation process provided in subchapter B of Chapter 2260. To initiate the process, Contractor shall submit written notice, as required by subchapter B of Chapter 2260, to Owner in accordance with the notice provisions in this Agreement. Contractor's notice shall specifically state that the provisions of subchapter B of Chapter 2260 are being invoked, the date and nature of the event giving rise to the claim, the specific contract provision that Owner allegedly breached, the amount of damages Contractor seeks, and the method used to calculate the damages. Compliance by Contractor with subchapter B of Chapter 2260 is a required prerequisite to Contractor's filing of a contested case proceeding under subchapter C of Chapter 2260. The Chief Business Officer of Owner, or such other officer of Owner as may be designated from time to time by Owner by written notice thereof to Contractor in accordance with the notice provisions in this Agreement, shall examine Contractor's claim and any counterclaim and negotiate with Contractor in an effort to resolve such claims.*
			2. *(B) If the parties are unable to resolve their disputes under subparagraph (A) of this section, the contested case process provided in subchapter C of Chapter 2260 is Contractor’s sole and exclusive process for seeking a remedy for any and all of Contractor's claims for breach of this Agreement by Owner.*
			3. *(C) Compliance with the contested case process provided in subchapter C of Chapter 2260 is a required prerequisite to seeking consent to sue from the Legislature under Chapter 107 of the Texas Civil Practices and Remedies Code. The parties hereto specifically agree that (i) neither the execution of this Agreement by Owner nor any other conduct, action or inaction of any representative of Owner relating to this Agreement constitutes or is intended to constitute a waiver of Owner's or the state's sovereign immunity to suit and (ii) Owner has not waived its right to seek redress in the courts.*

*(2) The submission, processing and resolution of Contractor’s claim is governed by the published rules adopted by the Texas Attorney General pursuant to Chapter 2260, as currently effective, hereafter enacted or subsequently amended.*

*(3) Owner and Contractor agree that any periods set forth in this Agreement for notice and cure of defaults are not waived.”*

1. 10.3.3 (Page 30) Owner Indemnity
	* As a state agency, TSTC cannot agree to this provision since we are prohibited from doing so by the Texas Constitution. Please see attached policy (“Explanation of Indemnification”) for reference.
2. 11.2 (Page 31) Owner’s Liability Insurance
	* As a state agency, TSTC does not acquire commercial general liability insurance. Please see attached policy (“Explanation of Insurance: General Liability Insurance”).

1. 11.3.1. (Page 31) Property Insurance
	* 11.3.1: Add the following sentence to this provision: “*This insurance is written with a deductible of $100,000 per occurrence with a deductible aggregate of $100,000*.”
	* 11.3.1.4: Replace original language with the following: “ *The Contractor shall at the Contractor’s own expense provide insurance coverage for materials stored off the site after written approval of the Owner at the value established in the approval, and also for portions of the Work in transit until such materials are permanently attached to the Work*.”
	* Add this provision: “*The insurance required by 11.3 is not intended to cover machinery, tools or equipment owned or rented by the Contractor that are utilized in the performance of the Work but not incorporated into the permanent improvements. The Contractor shall, at the Contractor’s own expense, provide insurance coverage for owned or rented machinery, tools or equipment.”*
	* Again, please see attached policy for further explanation (“Explanation of Insurance: Property/Facilities”)
2. 11.3.1.2 (Page 31) Inform in writing
	* All of these issues came up in a previous review I did of the AIA-201-1997. At that time you sent a letter notifying the Contractor that TSTC will not be purchasing insurance, and attaching our insurance policy to the letter. I recommend you do this again prior to commencement of work on a contract.

**Exhibit B: Explanation of Insurance**

**As a state agency, TSTC does not acquire commercial general liability insurance. Please see attached policy (“Explanation of Insurance: General Liability Insurance”)**

**GENERAL LIABILITY INSURANCE**

It is the stated policy of the State of Texas, and therefore TSTC as a state agency, not to acquire commercial general liability insurance for torts committed by employees of the state who are acting within the scope of their employment. Rather, third parties must look to the *Texas Tort Claims Act (Tex.Civ.Prac.& Rem. Code §101),* for relief with respect to property damage, personal injury, and death proximately caused by the wrongful act or omission or negligence of an employee acting within his scope of employment. One exception to the above stated policy of the state authorizes agencies and institutions of the state to acquire commercial automobile insurance for the use and benefit of their employees who operate state owned, motorized vehicles and special equipment. TSTC possesses insurance applicable to this exception [see below]. Students are responsible for securing their own insurance coverage.

**PROPERTY/FACILITES INSURANCE**

 Texas State Technical College’s Property/Facility insurance covers interest against physical loss or damage by covered perils to named property that is owned by TSTC. All TSTC buildings and contents are covered under this policy.

 TSTC possesses Boiler & Machinery insurance. Coverage includes equipment breakdown, property damage, hazardous substances, service interruption, demolition, etc.

 TSTC has Aircraft Physical Damage and Liability Insurance through the Texas Department of Transportation.

 TSTC also has a Commercial Crime Policy that covers employee theft and forgery.

**DIRECTORS AND OFFICER LIABILITY**

 State agencies may buy liability insurance for its officers and executive staff to cover (1) conduct described in *Texas Civil Practice & Remedies Code* §104.002 relating to negligence, civil rights violations, hazardous waste manifest and records, or if the Attorney General otherwise approves of indemnification, and (2) other conduct customarily covered under directors' and officers' liability insurance. Insurance may be bought with state funds to cover a director, officer, member of the governing board, or a member of the executive staff of the agency. The policy must be limited to providing coverage only for liability in excess of the state's liability under *Texas Civil Practice & Remedies Code* § 104.003.

 TSTC possesses Directors and Officers liability insurance. Coverage under this policy includes discrimination, sexual harassment, wrongful termination, and failure to promote among other allegations including third party.

## BUSINESS AUTOMOBILE LIABILITY

## TSTC possesses coverage for legal liability arising out of the use of owned, leased, hired, and non-owned autos. This policy is subject to the statutory caps applied by the Texas Legislature.

## WORKER'S COMPENSATION

Pursuant to §135.58 of the Education code, TSTC possesses workers’ compensation for its employees. An employee may notify their employer within five days of beginning work that they do not want to be covered by workers’ compensation and prefer to keep the common-law right to recover damages for personal injury or death. If the employee does not choose this option, then workers’ compensation is that employee’s exclusive remedy for an on-the-job injury. This means that the employee may not sue the employer or co-workers for damages.

 A state employee who has not opted out of the coverage, as discussed above, and who sustains an injury in the course of employment is entitled to receive compensation under this system. In the case of a fatality, the deceased employee’s legal beneficiaries are entitled to benefits. The term “injury” includes occupational diseases. A state employee is a person who is in the service of the state, whether that person is elected, appointed, or hired by oral or written contract, whose duties require that the person work in a political subdivision of the state, but who is paid from state funds. Certain peace officers, as identified in Chapter 501 of the Act, are also considered state employees for purposes of workers’ compensation.

However, the following people are **not** considered employees of the state for purposes of workers’ compensation:

* Independent contractors;
* Volunteers, except during a Governor-declared State of Emergency;
* Members of the state military forces, except while on active duty;
* Persons covered by federal workers’ compensation;
* Offenders; and
* Consumers or patients of a state institution or agency

Workers’ compensation claims of state employees are filed with and determined by the State Office of Risk Management, but income and medical benefit disputes are adjudicated by the Texas Department of Insurance, Division of Workers’ Compensation (DWC). The SORM executive director acts in the capacity of the insurer as an adversary before DWC and the courts and presents the legal defenses and positions of the state as the insurer. The SORM executive director is authorized to make rules and prescribe forms.

**Exhibit C: Explanation of Indemnification**

The State of Texas is immune from liability and from suit with respect to most causes of action against it under the doctrine of sovereign immunity. This means that the State of Texas cannot be sued in its own courts without its legislature's consent -- *Director of Dep’t of Agric. & Env’t v. Printing Indus. Ass’n, 600 S.W. 2d 264, 265-66 (Tex.1980).*  The [Texas Constitution](http://www.capitol.state.tx.us/txconst/toc.html) provides that the State cannot give, lend or pledge the credit of the State to any person, association or corporation, or make any grant of public monies to any person, association or corporation without express authority. [Article 3, Sections 50-52, Texas Constitution.](http://www.capitol.state.tx.us/txconst/articles/cn000300.html) Unless the Texas Legislature by resolution permits a suit against the State, the State is not authorized to pay claimants and likewise is unable to indemnify a third party for the expenses associated with defending against such a claimant since such an indemnity would be an unauthorized grant of public monies.

The Texas Tort Claims Act (Chapter 101, Texas Civil Practice and Remedies Code) provides a waiver of the State of Texas' sovereign immunity with respect to liability and suits against governmental units like Texas State Technical College, for property damage and personal injury (including death) proximately caused by the wrongful act or omission or the negligence of an employee acting within the scope of his or her employment; but, the property damage, injury, or death must have arisen out of the operation or use of a motor vehicle or motor-driven equipment or the condition or use of other personal or real property. Section 101.021 In cases falling within the parameters of the Texas Tort Claims Act, Texas has in effect consented to be liable and to be sued for the negligence of its employees and thus, TSTC can indemnify third parties against costs they may incur proximately caused by such negligence in the operation, condition or use of property. The limits of this liability are (i) $250,000 per person for personal injury or death, up to $500,000 per occurrence, and (ii) $100,000 per occurrence for injury to or destruction of property. Section 101.023

**Public Servants**

Public servants also have the limited right to indemnification by the state. Under Chapter 104 of the Civil Practice and Remedies Code, governmental employees, board members, and other public officials are entitled to this protection without regard to whether they perform their services for compensation. Indemnity protection is afforded eligible persons for acts and omissions taken in the course and scope of their service in cases based on constitutional, statutory, and even negligence grounds, or when the Attorney General determines that it would be in the interest of the state. The only claims excepted are those based on acts taken in bad faith, conscious indifference, or reckless disregard. Generally, the state will indemnify eligible persons for damages awarded against them in amounts up to $100,000 each, $300,000 per occurrence involving personal injury, death, or deprivation of a right, privilege, or immunity. The state will also indemnify eligible persons for damages awarded against them, up to $10,000 per single occurrence of damage to property. However, the State will not indemnify persons for amounts covered by insurance, except for damages that exceed statutory indemnification limits. [See *Policy Statement TSTC -- Explanation of Insurance*]

Public servants may be personally liable for punitive or exemplary damages awarded against them, or for damages that exceed the indemnification limits, listed above. Punitive or exemplary damages must be based on a finding that the employee has acted maliciously or in bad faith. In cases based on state law, public servants who are entitled to state indemnification, or who are covered by insurance, are not liable for damages in excess of $100,000. This limitation on personal liability does not apply to damages based on the U.S. Constitution or federal laws.

The Attorney General represents persons who are eligible for state indemnification. When public servants are sued and want representation from the Attorney General, they must notify the Office of the Attorney General within 10 days of service. Persons eligible for state indemnification also have the right to be co-represented by a private attorney of their choice, at their own expense. State defendants who choose to retain private co-counsel should inform the Office of the Attorney General of this decision as soon as possible.

 REMAINDER OF PAGE INTENTIONALLY LEFT BLANK

**Exhibit D: Bond Requirements**

*REQUIRED BONDS*:

* + - 1. A Performance Bond is required if the Contract Price is in excess of $100,000. The Performance Bond is solely for the protection of the Owner. The Performance Bond is to be for the Contract Sum to guarantee the faithful performance of the Work in accordance with the Contract Documents. The form of the bond shall be approved by the Attorney General of Texas. The Performance Bond shall be effective

through the Contractor’s warranty period.

1. A Payment Bond is required if the Contract Price is in excess of $25,000. The payment bond is to be for the Contract Sum and is payable to the Owner solely for the protection and use of payment bond beneficiaries who have a direct contractual relationship with the Contractor or a Subcontractor. The form of the bond shall be approved by the Attorney General of Texas.

2. Bond Requirements. Each bond shall be executed by a corporate surety or sureties authorized to do business in the State of Texas and acceptable to the Owner and in compliance with the relevant provisions of the Texas Insurance Code. If any bond is for more than 10 percent of the surety’s capital and surplus, the Owner may require certification that the company has reinsured the excess portion with one or more reinsurers authorized to do business in the State. A reinsurer may not reinsure for more than 10 percent of its capital and surplus. If a surety upon a bond loses its authority to do business in the State, the Contractor shall, within thirty (30) days after such loss, furnish a replacement bond at no added cost to the Owner.

3. Power of Attorney. Each bond shall be accompanied by a valid Powerof-Attorney (issued by the surety company and attached, signed and sealed with the corporate embosses seal, to the bond) authorizing the attorney in fact who signs the bond to commit the company to the terms of the bond, and stating any limit in the amount for which the attorney can issue a single bond.

**Exhibit E: HUB Subcontracting Plan**

In accordance with Government Code §2161.252, the contracting agency has determined that subcontracting opportunities are probable under this contract. Therefore, respondents, including State of Texas certified Historically Underutilized Businesses (HUBs) must complete and submit a State of Texas HUB Subcontracting Plan (HSP) within 24 hours of their solicitation response.





